## Slide 1
Irrigation Pumps 101
track 2A

## Slide 2
ABOVE GROUND
2-Types
JET PUMPS
CENTRIFUGAL PUMPS

## Slide 3
25 feet
or less
more than 25 feet
Shallow Well
Deep Well

## Slide 4
2-Types
JET PUMPS
Shallow Well Jet Pumps
Deep Well Jet Pumps
Why are they called “Jet” pumps?
Jet or Ejector
Shallow Well Jet or Ejector
Deep Well Jet or Ejector

## Slide 5
Increase Velocity
How do they work?
Jet or Ejector
Shallow Well Jet or Ejector
Deep Well Jet or Ejector

## Slide 6
Increased Velocity
Suction or Vacuum
How do they work?
Jet or Ejector
Shallow Well Jet or Ejector
Deep Well Jet or Ejector

## Slide 7
SHALLOW WELL JET
DEEP WELL JET
How do they work?
NOZZLE

## Slide 8
From water source
From pump
To service
SHALLOW WELL
How do they work?
Suction or Vacuum

## Slide 9
From water source
DEEP WELL
How do they work?
Suction or Vacuum

## Slide 10
JET PUMPS

## Slide 11
Shallow Well Only
Deep Well Jet Pump
Convertible Jets
Shallow Well Jet Pump
JET PUMPS
+ =
+ =

## Slide 12
Single pipe ‘Shallow Well’ jet pumps – 25’ or less to water
SHALLOW WELL
What do you mean?
DEEP WELL

## Slide 13
Single pipe ‘Shallow Well’ jet pumps – 25’ or less to water
SHALLOW WELL
What do you mean?
DEEP WELL

## Slide 14
SHALLOW WELL
What do you mean?
DEEP WELL
Water level
Lift

## Slide 15
Two pipe ‘Deep Well’ jet pumps – sized with proper ejector (referred to as a jet) can lift water up to 90’.
SHALLOW WELL
What do you mean?
DEEP WELL

## Slide 16
Zone 4
Home Water System
Fixture Count Method
The total number of fixtures in the house should equal the gpm rating of the pump.
Kitchen
● Sink
● Dishwasher
Laundry Room
● Clothes Washer
Full Bath
● Tub/Shower
● Lavatory
● Toilet
½ Bath
● Lavatory
● Toilet
● Outside Hose Bibb
2
1
2
3
+___
1
fixtures
9
9
9
gpm
9

## Slide 17
ABOVE GROUND
2-Types
JET PUMPS
CENTRIFUGAL PUMPS

## Slide 18
CENTRIFUGAL PUMPS
2-Types
Straight Centrifugal
Self-Priming

## Slide 19
WATER SOURCES
Above Ground Reservoirs
Below Ground Cisterns
City / Municipal Water Supplies
Drilled Wells
Lakes
Ponds
Rivers / Streams
Lakes Ponds Streams / Rivers
CENTRIFUGAL PUMPS

## Slide 20
Centrifugal Force
CENTRIFUGAL PUMPS

## Slide 23
Injection Molded Plastic
No Lead Brass
choice of impellers

## Slide 24
All Impellers are Balanced

## Slide 25
· single stage
· two stage
· three stage
more impellers = more pressure

## Slide 26
more impellers = more pressure

## Slide 27
The simplest of all pumps.
Will not remove air – must be primed with water before operation and must stay full of water at all times.
STRAIGHT CENTRIFUGAL
CENTRIFUGAL PUMPS

## Slide 28
Self Priming centrifugal pumps are also referred to as ‘lawn sprinkler pumps’
Self-Primer
Although they are ‘self priming’, all pumps need to be primed initially in order to pump water.
CENTRIFUGAL PUMPS

## Slide 29
Self-Primer
Straight Centrifugal
…why is it called self-priming?

## Slide 30
…priming a pump
Suction/Inlet
Discharge/Outlet
Priming port

## Slide 31
…priming a pump

## Slide 32
…priming a pump

## Slide 33
…priming a pump
All jet / centrifugal pumps need to be initially primed with water in order to remove air from the pump and pipe.
Air pockets / bubbles must be eliminated during this process.
Failure to prime a pump, or for the pump to keep its prime is the #1 cause for initial pump failure.
Pump Body
Suction Pipe

## Slide 34
Irrigation Pumps 101
track 2A
thank you